## Manual entry
Enter a unique name for your model | GRAND DORAL
Total Number of Housing Units | 80
Beginning Reserve Funds (Dollar Amount) | 0
SIRS Reserve Funds (Dollar Amount) | 0
Inflation Rate Used in the Report | 0
Average Monthly Fee per Unit | 501
Beginning Fiscal Year of the Report | 2023
Number of Years Covered in the Report | 30
Suggested Rate of Return on Investments | 1
Item Name | Expected Life | Remaining Life | Replacement Cost | Type of SIRS
"Gutters, 3"" Diam. Alum. " | 25 | 21 | 15072 | 0
"Windows, Metal Frame, Double Hung, 2'-8"" x 6'-8"" - Replace (per wi1nd/1o/w22) " | 15 | 11 | 431040 | 0
Asphalt Mill and Overlay (Resurface) | 25 | 21 | 26318 | 0
Balcony, Seal/Repair Conc., Resecure Railings (Allowance) | 10 | 6 | 75000 | 0
Ceramic and/or Porcelain Tile Flooring | 20 | 16 | 375422 | 0
Concrete, Flatwork Repairs | 20 | 16 | 12950 | 0
Cooling Tower, Galvanized, Blow Through, Centrifugal Type - 100 ton | 25 | 21 | 61646 | 0
Corridor Renovations (allowance per SF of flooring - PT walls/ceiling1s/ 1o/n2ly2) | 10 | 6 | 90491 | 0
DW Packaged Booster Pump, Simplex - 7.5 HP | 20 | 16 | 23499 | 0
Elevator, Hydraulic, Cab Doors | 20 | 19 | 9966 | 0
Elevator, Hydraulic, Cabs - Refurbish | 20 | 19 | 26522 | 0
Elevator, Hydraulic, Main Ram & Pump Assembly - Rebuild | 25 | 24 | 130000 | 0
Elevator, Hydraulic, Shaftway Doors | 25 | 24 | 9900 | 0
Exterior Caulking and Sealants | 10 | 6 | 21784 | 0
Exterior Door, Glass Storm Door w/ Screen | 15 | 11 | 108000 | 0
Façade Repairs (Allowance) | 10 | 6 | 150000 | 0
FF&E, Fitness Equipment, Cardio | 15 | 13 | 30000 | 0
FF&E, Fitness Equipment, Strength | 15 | 13 | 7500 | 0
FF&E, Pool, Furnishings | 10 | 8 | 12000 | 0
Fire Alarm Panel | 15 | 11 | 11460 | 0
Fire Alarm System | 15 | 11 | 32950 | 0
Fire Pump/Jockey Pump, Electric - 500 GP | 20 | 16 | 36788 | 0
Flashings and Sealants, Parapets/Roof Edges | 10 | 6 | 14406 | 0
Fluid-Applied Waterproofing, Roof Membrane | 30 | 26 | 82455 | 0
Generator, Gas | 25 | 21 | 96992 | 0
Heat Exchanger, Plate & Frame, Fluid to Fluid - 400 GPM | 25 | 21 | 109420 | 0
Management Office - Upgrades (Allowance) | 15 | 11 | 10000 | 0
Multi-ply Bituminous Roof Membrane, Base-Coat Only | 20 | 16 | 37599 | 0
Packaged A/C Unit, Chilled Water (Chiller Loop) - 20 Ton | 25 | 21 | 77174 | 0
Paint and Seal Exterior | 10 | 6 | 45902 | 0
Paint Stairs and Railings | 10 | 6 | 14560 | 0
Pool, Filtration and Circulation Equipment | 11 | 8 | 15000 | 0
Pool, Gunite Bot/Side - Re-Finish | 15 | 10 | 176800 | 0
Remove/Reset Pavers | 40 | 36 | 274400 | 0
Security, Camera | 15 | 11 | 24575 | 0
Structural Repairs (allowance) | 10 | 6 | 10000 | 0
Trash Compactor, Chute Fed, 250 lbs./hr. | 20 | 16 | 27692 | 0