## Manual entry
PLEASE FILL OUT TEMPLATE AS IS, DO NOT MOVE TABLES OR ITEMS
Enter a unique name for your model | GRAND DORAL
Total Number of Housing Units | 80
Beginning Reserve Funds (Dollar Amount) | 0
SIRS Reserve Funds (Dollar Amount) | 0
Inflation Rate Used in the Report | 0
Average Monthly Fee per Unit | 501
Beginning Fiscal Year of the Report | 2023
Number of Years Covered in the Report | 30
Suggested Rate of Return on Investments
Item Name | Expected Life | Remaining Life | Replacement Cost | Type of SIRS
"Gutters, 3"" Diam. Alum. " | 25 | 21 | 15072 | Non SIRS Item
"Windows, Metal Frame, Double Hung, 2'-8"" x 6'-8"" - Replace (per wi1nd/1o/w22) " | 15 | 11 | 431040 | Non SIRS Item
Asphalt Mill and Overlay (Resurface) | 25 | 21 | 26318 | Non SIRS Item
Balcony, Seal/Repair Conc., Resecure Railings (Allowance) | 10 | 6 | 75000 | Non SIRS Item
Ceramic and/or Porcelain Tile Flooring | 20 | 16 | 375422 | Non SIRS Item
Concrete, Flatwork Repairs | 20 | 16 | 12950 | Non SIRS Item
Cooling Tower, Galvanized, Blow Through, Centrifugal Type - 100 ton | 25 | 21 | 61646 | Non SIRS Item
Corridor Renovations (allowance per SF of flooring - PT walls/ceiling1s/ 1o/n2ly2) | 10 | 6 | 90491 | Non SIRS Item
DW Packaged Booster Pump, Simplex - 7.5 HP | 20 | 16 | 23499 | Non SIRS Item
Elevator, Hydraulic, Cab Doors | 20 | 19 | 9966 | Non SIRS Item
Elevator, Hydraulic, Cabs - Refurbish | 20 | 19 | 26522 | Non SIRS Item
Elevator, Hydraulic, Main Ram & Pump Assembly - Rebuild | 25 | 24 | 130000 | Non SIRS Item
Elevator, Hydraulic, Shaftway Doors | 25 | 24 | 9900 | Non SIRS Item
Exterior Caulking and Sealants | 10 | 6 | 21784 | Non SIRS Item
Exterior Door, Glass Storm Door w/ Screen | 15 | 11 | 108000 | Non SIRS Item
Façade Repairs (Allowance) | 10 | 6 | 150000 | Non SIRS Item
FF&E, Fitness Equipment, Cardio | 15 | 13 | 30000 | Non SIRS Item
FF&E, Fitness Equipment, Strength | 15 | 13 | 7500 | Non SIRS Item
FF&E, Pool, Furnishings | 10 | 8 | 12000 | Non SIRS Item
Fire Alarm Panel | 15 | 11 | 11460 | Non SIRS Item
Fire Alarm System | 15 | 11 | 32950 | Non SIRS Item
Fire Pump/Jockey Pump, Electric - 500 GP | 20 | 16 | 36788 | Non SIRS Item
Flashings and Sealants, Parapets/Roof Edges | 10 | 6 | 14406 | Non SIRS Item
Fluid-Applied Waterproofing, Roof Membrane | 30 | 26 | 82455 | Non SIRS Item
Generator, Gas | 25 | 21 | 96992 | Non SIRS Item
Heat Exchanger, Plate & Frame, Fluid to Fluid - 400 GPM | 25 | 21 | 109420 | Non SIRS Item
Management Office - Upgrades (Allowance) | 15 | 11 | 10000 | Non SIRS Item
Multi-ply Bituminous Roof Membrane, Base-Coat Only | 20 | 16 | 37599 | Non SIRS Item
Packaged A/C Unit, Chilled Water (Chiller Loop) - 20 Ton | 25 | 21 | 77174 | Non SIRS Item
Paint and Seal Exterior | 10 | 6 | 45902 | Non SIRS Item
Paint Stairs and Railings | 10 | 6 | 14560 | Non SIRS Item
Pool, Filtration and Circulation Equipment | 11 | 8 | 15000 | Non SIRS Item
Pool, Gunite Bot/Side - Re-Finish | 15 | 10 | 176800 | Non SIRS Item
Remove/Reset Pavers | 40 | 36 | 274400 | Non SIRS Item
Security, Camera | 15 | 11 | 24575 | Non SIRS Item
Structural Repairs (allowance) | 10 | 6 | 10000 | Non SIRS Item
Trash Compactor, Chute Fed, 250 lbs./hr. | 20 | 16 | 27692 | Non SIRS Item